Chiller background

| Chiller details | Information |
| --- | --- |
| Chiller Number | $ChillerSN |
| Location | $LocationName |
| City | $LocationCity |
| Year of Manufacturing (Age) | $Year_Age |
| Model Number | $ModelNum |
| Chiller Run Hours | $runhrs |
| Report Duration | $StartDate ~ $EndDate |
| Chiller Capacity (RT) | $DesignRT |
| Rated Chilled Water (kW) | 468 |
| Design Leaving Chilled Water Temperature (º$T_Unit) | $Design_LCW |
| Design Entering Condenser Water Temperature (º$T_Unit) | $Design_ECDW |

Summary

|  | As part of Carrier's connected service program, our command center experts continuously monitor the performance and health of the chiller and its major components. |
| --- | --- |
|  | The chiller with serial number $ChillerSN underwent a chiller replacement analytics program considering its age and run hours are $Age years and $runhrs, respectively. Further analysis was conducted using real-time data from $StartDate to $EndDate. |
|  | The chiller's design full load efficiency is $Design_Efficiency kW/RT, while the computed chiller $performance_str is $maxium_data_efficiency $performance_unit at entering condenser water temperature (ECWT) of $maxium_data_min_ECDW-$maxium_data_max_ECDW º$T_Unit and an average leaving chilled water temperature (LCHWT) of $maxium_data_mean_LCW ºF during this period. |

Chiller Performance Analysis

$effi_PLC_ECDW

Comments

- The chiller $performance_str($performance_unit) is steadily $trend compared to the previous year, indicating an increase in energy consumption per unit of cooling output.

- This trend indicates a potential decline in efficiency, emphasizing the need for further investigation to address and rectify underlying issues.

$Chiller efficiency vs %RLA vs Runhrs

Comments

- This plot illustrates various part-load efficiencies based on specific criteria:

  - The chiller operates at full load for more than 80% of the time: $full_load_80

  - The chiller frequently operates at less than 60% of its RLA for most of the time (more than 80% of the time): $low_load_80

$Chiller efficiency vs Cooling load vs Runhrs

Comments

- This plot illustrates various part-load efficiencies at different Cooling Loads:

  - The chiller operates maximum in the range $Ton_range RT.

Chiller Alarm Analysis

$alarm_count

Comments

- The chiller device has total of $total_alarms alarms during this analysis timeframe.

- There have $exceed_15 instances of chiller device alarms exceeding 15 in the last 2 months.

Chiller Water Temperature Analysis

$LCW_SP

Comments

- The chilled water leaving temperature meets $setpoint_meet% the set point.

$Entering_Condenser_Water

Comments

- The average condenser water temperature falls within the range of $min_ECDW º$T_Unit to $max_ECDW º $T_Unit.

Source File

- $Hyperlink