Chiller background

| Chiller details | Information |
| --- | --- |
| Chiller Number | $ChillerSN |
| Location | $LocationName |
| City | $LocationCity |
| Year of Manufacturing (Age) | $Year_Age |
| Model Number | $ModelNum |
| Chiller Run Hours | $runhrs |
| Report Duration | $StartDate to $EndDate |
| Chiller Capacity (RT) | $DesignRT |
| Rated Chilled Power (kW) | $DesignChillerPower |
| Design Leaving Chilled Water Temperature ($T_Unit) | $Design_LCW |
| Design Entering Condenser Water Temperature ($T_Unit) | $Design_ECDW |
| Report Release Date | $Today_date |

Summary

|  | As part of Carrier's connected service program, our command center experts continuously monitor the performance and health of the chiller and its major components. |
| --- | --- |
|  | The chiller with serial number $ChillerSN underwent a chiller retrofit analytics program considering its age and run hours exceeding 20 years and 70,000, respectively. Further analysis was conducted using real-time data from $StartDate to $EndDate. |
|  | The chiller's design full load efficiency is $Design_Efficiency kW/RT at design chilled water & condenser water temperature of $Design_LCW$T_Unit and $Design_ECDW$T_Unit respectively, while the computed chiller $performance_str is $maxium_data_efficiency $performance_unit at average chilled water & condenser water temperature of $maxium_data_mean_LCW & $maxium_data_mean_ECDW respectively during the analysis period. |
|  | These are initial analytic and findings of a chiller performance from telemetry data within a specified period. Further investigation and energy assessment on chiller plant level are recommended to understand existing chiller plant baseline performance. Carrier offers in-house engineering tools to assist our customers in developing new solution with optimized configuration and operation. |

Chiller Performance Analysis

$effi_PLC_ECDW

Comments

- The chiller $performance_unit is steadily $trend compared to the previous year, indicating an increase in energy consumption per unit of cooling output.

- This trend indicates a potential decline in efficiency, emphasizing the need for further investigation to address and rectify underlying issues.

$19XRV_installed_VFD

- The chiller efficiency(kW/RT) is similar compared to the previous year.   $19XRV_installed_VFD

$Chiller efficiency vs %RLA vs Runhrs

Comments

- This plot illustrates various part-load efficiencies based on specific criteria:

  - The chiller operates at full load for more than 80% of the time: $full_load_80

  - The chiller frequently operates at less than 60% of its RLA for most of the time (more than 80% of the time): $low_load_80

  - The chiller is installed with VFD: No

$Chiller efficiency vs Cooling load vs Runhrs

Comments

- This plot illustrates various part-load efficiencies at different Cooling Loads:

  - Most of the time ($MostRunhrsOFTon%) chiller operates from $Ton_range RT.

Chiller Alarm Analysis

$alarm_count

Comments

- The chiller device has total of $total_alarms alarms during this analysis timeframe.

- There have been $exceed_15 instances of chiller device alarms exceeding 15 in the last 2 months.

Chiller Water Temperature Analysis

$LCW_SP

Comments

- The leaving chilled water temperature meets $setpoint_meet%, the set point.

$Entering_Condenser_Water

占位符

Comments

- The average entering condenser water temperature falls within the range of $min_ECDW$T_Unit to $max_ECDW$T_Unit.

Chiller Data 2022 (Average)

| Year 2022 | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Leaving Chilled water temperature, °F |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller power consumption, kW |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller efficiency, kW/RT |  |  |  |  |  |  |  |  |  |  |  |  |
| Cooling load, RT |  |  |  |  |  |  |  |  |  |  |  |  |
| Entering Condenser water temperature, °F |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller energy consumption, kWh |  |  |  |  |  |  |  |  |  |  |  |  |

$Temperature_Ton_2022

$Effi_EnergyConsumption_2022

占位符

占位

占位符

占位符

占位符

占位符

占位符

$Ton_power_2022

Chiller Data 2023 (Average)

| Year 2023 | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Leaving Chilled water temperature, °F |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller power consumption, kW |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller efficiency, kW/RT |  |  |  |  |  |  |  |  |  |  |  |  |
| Cooling load, RT |  |  |  |  |  |  |  |  |  |  |  |  |
| Entering Condenser water temperature °F |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller energy consumption, kWh |  |  |  |  |  |  |  |  |  |  |  |  |

占位符

占位符

占位符

占位符

$Temperature_Ton_2023

$Effi_EnergyConsumption_2023

占位符

占位符

占位符

占位符

占位符

占位符

占位符

占位符

$Ton_power_2023

Chiller Data 2024 (Average)

| Year 2024 | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Leaving Chilled water temperature, °F |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller power consumption, kW |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller efficiency, kW/RT |  |  |  |  |  |  |  |  |  |  |  |  |
| Cooling load, RT |  |  |  |  |  |  |  |  |  |  |  |  |
| Entering Condenser water temperature °F |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller energy consumption, kWh |  |  |  |  |  |  |  |  |  |  |  |  |

符

占位符

占位符

占位符

占位符

$Temperature_Ton_2024

$Effi_EnergyConsumption_2024

占位符

占位符

占位符

占位符

占位符

占位符

占位符

$Ton_power_2024