Chiller background

| Chiller details | Information |
| --- | --- |
| Chiller Number | $ChillerSN |
| Location | $LocationName |
| Customer Name | $CustomerName |
| City | $LocationCity |
| Year of Manufacturing (Age) | $Year_Age |
| Model Number | $ModelNum |
| Chiller Run Hours | $runhrs |
| Report Duration | $StartDate to $EndDate |
| Chiller Capacity (RT) | $DesignRT |
| Rated Chilled Power (kW) | $DesignChillerPower |
| Design Leaving Chilled Water Temperature ($T_Unit) | $Design_LCW |
| Design Entering Condenser Water Temperature ($T_Unit) | $Design_ECDW |
| Report Release Date | $Today_date |

**** Confidential - For Recipient's Use Only. Unauthorized Sharing is Prohibited.

Summary

|  | As part of Carrier's connected service program, our command center experts continuously monitor the performance and health of the chiller and its major components. |
| --- | --- |
|  | The chiller with serial number $ChillerSN underwent a chiller retrofit analytics program considering its age and run hours exceeding 20 years or 70,000, respectively. Further analysis was conducted using real-time data from $StartDate to $EndDate. |
|  | $GeneralThe chiller's design full load $performance_str is $Design_Efficiency $performance_unit at design conditions of $Design_LCW$T_Unitfor chilled water and $Design_ECDW$T_Unit for condenser water. $General$case1When evaluated under these same design conditions, the computed chiller $performance_str is $same_condition_effi $performance_unit. This comparison uses the design temperature parameters for a direct assessment of performance during the analysis period.$case1$case2By adjusting the actual operating conditions to match these design temperatures, the adjusted chiller $performance_str is $same_condition_effi $performance_unit*. This adjustment aligns the actual operating conditions with the design specifications, providing a clear basis for comparison for data points that are greater than 80%** of RLA during the analysis period. $case2$case3 No Enough Data points to compute and compare with Design Data. $case3 * Adjusted $performance_str by $deviation_per% for 1 deviation of $T_unit from design chilled water and condenser water temperature. ** $data_count data points used for computation |
|  | $positive_deter1. Chiller $performance_str deteriorate by $DeterEffi% compared to design $performance_str.$positive_deter $negative_deter1. Chiller efficiency improved by $DeterEffi% compared to design efficiency due to good maintenance and computational/ sensor error.$negative_deter |
|  | 2. Chiller device has total of $total_alarms alarms during analysis period. |
|  | These are initial analytic and findings of a chiller performance from telemetry data within a specified period. Further investigation and energy assessment on chiller plant level are recommended to understand existing chiller plant baseline performance. Carrier offers in-house engineering tools to assist our customers in developing new solution with optimized configuration and operation. |

Chiller Performance Analysis

$effi_PLC_ECDW

Comments

- The chiller $performance_str $performance_unit is steadily $trend compared to the previous year, indicating an increase in energy consumption per unit of cooling output.

- This trend indicates a potential decline in efficiency, emphasizing the need for further investigation to address and rectify underlying issues.

- The chiller $performance_str $performance_unit is similar compared to the previous year.

$Chiller efficiency vs %RLA vs Runhrs

Comments

- This plot illustrates various part-load efficiencies based on specific criteria:

  - The chiller operates at full load for more than 80% of the time: $full_load_80

  - The chiller frequently operates at less than 60% of its RLA for most of the time (more than 80% of the time): $low_load_80

  - Chiller $performance_str at ($Tonrange_per%) RT is at $MostRunhrsPerformance $performance_unit compared to >90% RT is at $90TonPerformance $performance_unit.

  - The chiller is installed with VFD: $is_installed_VFD.

$Chiller efficiency vs Cooling load vs Runhrs

Comments

- This plot illustrates various part-load efficiencies at different Cooling Loads:

  - Most of the time ($MostRunhrsOFTon%) chiller operates from $Ton_range RT.

Chiller Alarm Analysis

$alarm_count

Comments

- The chiller device has total of $total_alarms alarms during this analysis timeframe.

- There have been $exceed_15 instances of chiller device alarms exceeding 15 in the last 2 months.

Chiller Water Temperature Analysis

$LCW_SP

Comments

- The leaving chilled water temperature meets $setpoint_meet%, the set point.

$Entering_Condenser_Water

Comments

- The average entering condenser water temperature falls within the range of $min_ECDW$T_Unit to $max_ECDW$T_Unit.

$2022infoChiller Data 2022 (Standard Average)

| Year 2022 | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Leaving Chilled water temperature, °F |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller power consumption, kW |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller efficiency, kW/RT |  |  |  |  |  |  |  |  |  |  |  |  |
| Cooling load, RT |  |  |  |  |  |  |  |  |  |  |  |  |
| Entering Condenser water temperature, °F |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller energy consumption, kWh |  |  |  |  |  |  |  |  |  |  |  |  |

“-”: No Telemetry

$Temperature_Ton_2022

$Effi_EnergyConsumption_2022

Placeholder

$Ton_power_2022

$2022info$2023info Chiller Data 2023 (Standard Average)

| Year 2023 | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Leaving Chilled water temperature, °F |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller power consumption, kW |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller efficiency, kW/RT |  |  |  |  |  |  |  |  |  |  |  |  |
| Cooling load, RT |  |  |  |  |  |  |  |  |  |  |  |  |
| Entering Condenser water temperature °F |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller energy consumption, kWh |  |  |  |  |  |  |  |  |  |  |  |  |

“-”: No Telemetry

$Temperature_Ton_2023

$Effi_EnergyConsumption_2023

$Ton_power_2023

$2023info$2024info Chiller Data 2024 (Standard Average)

| Year 2024 | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Leaving Chilled water temperature, °F |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller power consumption, kW |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller efficiency, kW/RT |  |  |  |  |  |  |  |  |  |  |  |  |
| Cooling load, RT |  |  |  |  |  |  |  |  |  |  |  |  |
| Entering Condenser water temperature °F |  |  |  |  |  |  |  |  |  |  |  |  |
| Chiller energy consumption, kWh |  |  |  |  |  |  |  |  |  |  |  |  |

“-”: No Telemetry

$Temperature_Ton_2024

$Effi_EnergyConsumption_2024

Placeholder

$Ton_power_2024

$2024info